## May-June 2016
DHBA Completed Maintenance - May-June 2016
Cabin #1 | installed new screen door
repaired deck chair
removed soil build-up on back of cabin
Cabin #2 | installed new screen door
sanded, sealed and re-painted baseboard heater in bathroom
replaced kitchen sink faucet
Cabin #3 | installed new screen doors
replaced rotted boards near laundry room
replaced railing with driftwood
Cabin #4 | replaced broken electrical outlet near fireplace
Cabin #5 | replaced railing with driftwood
repaired downstairs lamp
replaced ceramic tile on microwave stand
Cabin # 6 | installed new screen door
repaired upstairs lamp
Cabin #7 | installed new screen door
Cabin #8 | installed new screen door
sewed hole in couch cushion
replaced broken shade with curtain in north bedroom downstairs
installed shade in small window of north bedroom downstairs
repaired wooden bed supports in loft area
Grounds
mowing and trimming
cut three truckloads of firewood from Loveless' residence, split and distributed to Firewood lean-tos
removed large pile of old roofing shingles from #7 roof-removed nails and distributed to firewood lean-tos
(recycling enough for outside of combustibles shed)
started building combustibles shed near tennis courts
created closed compost bin for outside locker building
planted herbs around caretaker cabin for members' use
cleared necessary (20 foot) easement near pump house in preparation for well survey
took apart picnic table near tennis courts and re-used some of the wood
built compost area near shop using re-cycled wood
Equipment
repaired lawnmower
removed chlorination device from well pump as per Department of Health
transported unusable fire pump to town for repairs-replaced with new pump
Boat/Docks
moved dock from Lagoon to Davis Bay
helped paint bottom of boat at Skyline Marina
Miscellaneous
screen repairs
destroyed multiple yellow jacket nests
installed new sign near west boundary line on road
organized workshop
completed cabin inventory and re-distributed where necessary
water sampling for DOH
inspected underneath all cabins to familiarize ourselves with electric/water lines
replaced kitchen utensils and small appliances as necessary
completed Washington State Boater's Safety Course
Pirate Ship area
tightened up mast
replaced base of merry-go-round

## July 2016
DHBA Completed Maintenance -July 2016
Cabin #1 | Replaced/repaired bungee cord on two zero gravity chairs
Constructed new screen for bathroom window
Cabin #2 | Constructed new screen for kitchen window
Added new railing portion at top of steps-instead of rope
Removed old and re-grouted tub
Cabin #3 | Created two more garden beds for herbs for members-using recycled wood
Cabin #4 | Constructed new screen for kitchen window
Cabin #5
Cabin # 6 | Replaced broken paper towel holder
Cabin #7 | Sewed separated braided rug in front room
Cabin #8 | Constructed new screen for upstairs loft area
Grounds | mowed, weed removal as necessary
cut two more truckloads of firewood from Loveless' residence, split and distributed to Firewood lean-tos
Equipment | sharpened all axes
Boat/Docks | repaired hose down Davis bay dock
Miscellaneous | Completed combustibles shed
screen repairs
destroyed multiple yellow jacket nests
cleaned and removed all combustibles from workshop
Installed "critter" barriers near pump room
Installed screen venting for well pump
water sampling for DOH
Recorded all skiff registration numbers manually-verifying ownership with each
member as we meet them to find "abandoned" skiffs

## August 2016
DHBA Completed Maintenance - August 2016
Cabin #1
Cabin #2 | Destroyed yellow jacket and paper wasp nest
Cabin #3
Cabin #4 | Steam cleaned carpet
Replaced baseboard heater in kitchen with one in backstock
Cabin #5 | Steam cleaned furniture
Cabin # 6 | replaced upstairs bedroom lamp-lamp stem not stable
Cabin #7 | Destroyed multiple yellow jacket nests
Cabin #8 | Destroyed multiple yellow jacket nests
Grounds | Cleaned and organized gas shed
mowed, weed removal as necessary
cut two truckloads of firewood from Loveless' residence, split and distributed to Firewood lean-tos
Equipment
Transported Pressure washer and retumed from Anacortes-repaired
Repaired old pressure hoses and couplings for pressure washer
Boat/Docks | Transported Yamaha skiff motor and returned from Anacortes-repaired
Miscellaneous | Created Operations manual for DHBA Water System-approved by DOH
Installed vent in well pump house area to prevent water condensation on pipes
Water System inspection by DOH -passed with no violations
Stabilized mast on pirate ship until permanent fix with concrete in September
Completed 20 foot perimeter around shop
Pirate Ship area

## September 2016
DHBA Completed Maintenance - September 2016
Cabin #1
Cabin #2
Cabin #3 | Pressure washed porches and steps
Cabin #4 | Pressure washed porch, railing and picnic table
Cabin #5 | Installed new lamp above kitchen table-old "spots" had a short-electrical wiring damaged
Cabin # 6
Cabin #7 | Replaced broken electrical outlet behind couch
Pressure washed porch, steps and picnic table
Cabin #8 | Pressure washed porch, steps,seating and picnic tables
Grounds | Annual Septic Inspection-2 septic tanks to pump in October
cut two truckloads of firewood from Loveless' residence, split and distributed to Firewood lean-tos
Equipment
Boat/Docks | Installed manual winch on Strait Shooter
Tightened all bolts on docks
Updated and combined existing "abandoned dinghy" spreadsheet
Miscellaneous | Inspected all cabins, equipment and grounds to determine priority for deferred maintenance/capital improvements for board retreat
Then compiled costs comparison for board analysis for annual member meeting
Pirate Ship area

## October 2016
DHBA Completed Maintenance - October 2016
Cabin #1 | Took apart east bedroom interior wall to remove mouse nest and re-build
Removed and replace damaged shingles around kitchen window
Cabin #2 | closed in gaps in loft area beds
Installed flashing on roof where leaking to stabilize until replacement
Cabin #3
Cabin #4 | replaced curtains in front upstairs bedroom
Cabin #5 | replaced curtains and rod in north bedroom (disintegrated in wash)
Re-painted heater in kitchen
removed wallpaper in kitchen
Cabin # 6 | grouted crack in fireplace
Cabin #7
Cabin #8 | replaced kitchen sink faucet
regrouted top of kitchen cabinet
filled in "ropes" in dining table with resin
Grounds | Installed new shingles on south wall of locker building
Transported 2.5 cords of wood from Decatur Island and stocked firewood lean-tos
Equipment | Transported Truck to Anacortes and back for repairs (brakes, steering, muffler, etc)
Boat/Docks | Took Strait Shooter to LaConner and back for scheduled maintenance
Moved dock sections to lagoon and fixed dock rigging
Miscellaneous
Pirate Ship area

## November 2016
DHBA Completed Maintenance - November 2016
Cabin #1 | installed new window in bathroom
Cabin #2 | Changed under cabinet light-shorted out
Cabin #3 | Installed new quieter fan in bathroom
Cabin #4 | steam cleaned all furniture and rugs
Cabin #5 | refinished windowsills
Re-painted kitchen
steam-cleaned all furniture and rugs
Cabin # 6 | Installed new quieter bathroom fan
Cabin #7
Cabin #8 | refinished windowsills
installed new laminate kitchen counter
painted kitchen
Grounds | cut and distributed firewood from Loveless
filled in road potholes with gravel
Equipment | Serviced chain saw
Boat/Docks | Installed new rope line to bank in lagoon for SS and dock
Miscellaneous
Pirate Ship area

## December 2016
DHBA Completed Maintenance - December 2016
Cabin #1 | steam cleaned loft area and furniture
washed and put back all curtains
opened up wall again in east bedroom, removed more saturated wood for odor control
Cabin #2 | built longer new cubbies for downstairs bedroom
burned cresote build-up removal log
washed and put back all curtains
steam cleaned carpet and furniture
Cabin #3
Cabin #4 | painted kitchen
washed and put back curtains in downstairs bedroom
Cabin #5 | Installed shut-off (water) valve
cleaned under all kitchen cabinets and refreshed with new liner in drawers and cabinets
washed and put back curtains in south bedroom
sewed new curtains for north bedroom-old ones disentegrated in wash
Cabin # 6 | replaced ball valve (water) outside
washed and put back all curtains
replaced upstairs curtains - old ones disentegrated in wash
burned cresote build-up removal log
Cabin #7 | burned cresote build-up removal log
washed and put back all curtains
Cabin #8 | replaced couch cushion with higher density-more supportive cushion
burned cresote build-up removal log
washed and put back all curtains
Grounds | winterized and then re-winterized all cabins-shutting off water and heat as necessary
insulated hose bibs and pipes where needed
cut and distributed more firewood
Equipment
added another drop light in well pump area
Boat/Docks | replaced lines and added lines to Davis Bay and Lagoon docks
Miscellaneous
Pirate Ship area

## Jan & Feb 2017
DHBA Completed Maintenance - January & February 2017
Cabin #1 | opened up wall for the 4th time. Painted Kilz odor control on wall and floor surfaces inside cavity
Cabin #2 | Steam cleaned carpet and furniture with newly purchased steam cleaner
Transported new roofing product over from Island Transport at ramp and stored under cabin for "weather window" in April.
Cabin #3
Cabin #4 | Installed new carpet in living room, downstairs bedroom and stairs
Transport tub, stove, vanity countertop
Cabin #5 | Deep clean - steam cleaned all carpet and furniture, washed down all paneling and ceilings, cleaned out kitchen cupboards and put in new liners
Cabin # 6 | re-finished kitchen table, benches and chairs
New refrigerator
Cabin #7 | Deep clean - steam cleaned all carpet and furniture, washed down all paneling and ceilings, cleaned out kitchen cupboards and put in new liners
added height to existing end table in bedroom
removed dangerous coat rack and installed driftwood one
Cabin #8 | Deep clean - steam cleaned all carpet and furniture, washed down all paneling and ceilings, cleaned out kitchen cupboards and put in new liners
Grounds | winterized and then re-winterized all cabins-shutting off water and heat as necessary
insulated hose bibs and pipes where needed
cut and distributed more firewood
Equipment | Transported all fire extinguishers to/from Anacortes for annual inspection
Boat/Docks | rebuilt main dock section damaged in winter storm
Miscellaneous | Setting up worm composter near workshop for cardboard recycling

## March & April 2017
DHBA Completed Maintenance - March & April 2017
Cabin #1 | Deep clean - steam cleaned all carpet and furniture, washed down all paneling and ceilings
new lamp for corner of living room
Cabin #2 | Replaced wiring to kitchen overhead light-corroded under cabin
Cabin #3 | planted more herbs for members
new railing to office
Cabin #4 | Remodeled bathroom, new tub, tub surround,toilet, quartz sink top, new vanity and all fixtures, heated large format gray porcelain floor tiles, new heater and shelving
Installed new kitchen counter
Cabin #5 | Installed new roll-up blinds similar to cabin #1
Cabin # 6 | Installed new laminate in kitchen, living room, hallway and two downstairs bedrooms
Built new wall to accommodate new landing
Built new landing and repainted ladder-new treads and handles
Re-finished water damaged kitchen cupboards
Deep clean - steam cleaned all carpet and furniture, washed down all paneling and ceilings, cleaned out kitchen cupboards and put in new liners
Repaired heaters in living room and installed new thermostat
Cabin #7 | added area rug in living room
Installed new mini blinds in front room, 4 split windows instead of two large heavy ones
Cabin #8 | cleaned north porch of mold and mildew
Grounds | cut and distributed more firewood
water sample analysis-Edge Analytical in Burlington
filled in potholes in drive with gravel
Equipment | Upgraded internet to 20 megs, still working on Meraki's for stronger wireless signal
Boat/Docks | Moved dock extension from lagoon out to Davis Bay
Miscellaneous

## May & June 2017
DHBA Completed Maintenance - May & June 2017
Cabin #1 | Cleaned kitchen cupboards and installed new shelf liners
Cabin #2 | New roof - Brava shingle style re-cycled material , removed and/or recycled all old shingles
Deep clean - steam cleaned all carpet and furniture, washed down all paneling and ceilings
washed down kitchen cupboards and tops, installed new liners
Cabin #3
Cabin #4 | Deep Clean- took apart upstairs beds, steam cleaned all carpeting upstairs. Washed down all walls and ceilings.
Cabin #5
Cabin # 6
Cabin #7 | Removed all kitchen cabinets doors, stripped doors and frame and refinished all
Furnished and installed new two door cabinet in kitchen as pantry
Cabin #8
Grounds
Equipment
Boat/Docks | Strait Shooter yearly maintenance and repairs-took to LaConner and returned
new buoys and mooring for #7 and #8
Miscellaneous | split and cut new firewood and distributed
Worm farm corral installed

## July & August 2017
DHBA Completed Maintenance - July & August 2017
Cabin #1 | patch and repair bathroom baseboard and wall-dog chewing incident
Cabin #2 | Cut, stain and urethane new pantry shelves, install pantry in kitchen closet
Cabin #3 | Patched, painted and installed trim in second bedroom.
Cabin #4
Cabin #5
Cabin # 6 | Purchased and installed new shower diverter-old one leaking
Puchased and installed new tp holder
re-screened patio door
Cabin #7
Cabin #8
Grounds | Gather new rocks and clean up fire pits-excluding cabin #1-member cleaned up
Equipment | Member clean up and re-organize of fishing poles in locker building
Boat/Docks | Assist Ramaley's with buoy inspections,GPS coordinates, note-taking on skiff
Repaired and re-fiberglassed two DHBA skiffs
Miscellaneous | split and cut new firewood and distributed

## Sept thru Dec 2017
DHBA Completed Maintenance - July & August 2017
Cabin #1 | Completed first side of new roof
built and painted new benches
Installed new shade pull for front door
replaced outside electric
Fixed small bedroom door
washed all linens
Cabin #2 | Removed bunks in loft. Purchased and installed new carpet in loft and stairs
replaced outside electric
Installed new bathroom window
built and painted new benches and kitchen table
washed all linens
Cabin #3 | Installed bathroom fan
replaced broken garbage disposal
Patched, repaired, painted and installed new trim in main bedroom
washed all linens
Cabin #4 | steam cleaned carpet
replaced outside electric
washed all linens
Cabin #5 | washed all linens
replaced outside electric
Repaired spark arrestor
Cabin # 6 | washed all linens
Installed new water shut-off
replaced missing siding on south side of building
added new area rug in living room
replaced outlet in dining area
Cabin #7 | washed all linens
added grit paper to steps
installed new bowed shower rod
steam cleaned area rug in living room
Cabin #8 | Removed all kitchen cabinet doors and hardware, sanded and re-painted doors and hardware
Added additional shelf to microwave stand and painted
Fixed bathroom door
cleaned all cabinetry in kitchen and put down new shelf liners
painted and cleaned up benches
added grit paper to steps
Grounds | Inpected septic tanks and had necessary septic tanks pumped
repaired open hole in pirate ship
Repaired hose bib on locker shed
Equipment | upgraded Meraki and installed new wireless repeaters
(included running cable)
Boat/Docks | Added grit paper to ramp on dock and on ramp to locker building
Moved sections of dock to lagoon
replaced dock wheels on ramp on lagoon doock
Miscellaneous | split and cut new firewood and distributed

## Jan & Feb 2018
DHBA Completed Maintenance - Jan and Feb 2018
Cabin #1 | Cleaned up most of first half of old shingles-burning and distributing kindling to neighbors
New queen mattress and adjust wooden base in small bedroom
Cabin #2 | Completed new laminate floor
Installed new tub and vanity
Completed new heated tile floor
Completed tile in tub surround
Purchased new shades-not in until March
Removed all wallpaper in bathroom and kitchen
Painted kitchen and bathroom
Completed new hardware on kitchen drawers and cabinets
New queen mattress downstairs, moving old one upstairs on frame
Completed installation of bathroom exhaust fan with new ceiling
Completed new trim around bathroom window
Repainted kitchen heater
Cabin #3
Cabin #4
Cabin #5
Cabin # 6 | Two new queen mattresses, and reworked wooden base
Cabin #7 | New queen mattress and reworked wooden base
Refinished kitchen table and leaf
Cabin #8 | New queen mattress and reworked wooden base
Grounds
Equipment | Brought all fire extinguishers to Anacortes for annual inspection
Boat/Docks
Miscellaneous

## March & April 2018
DHBA Completed Maintenance - March and April 2018
Cabin #1 | Completed new roof- and removed all debris
refreshed ladder and grip strips to loft area
Washed all linens
Pressure washed deck and stairs
Steam cleaned loft area
Cabin #2 | installed new roller shades
repaired outside landing
Washed all linens
Pressure washed deck and stairs
Cabin #3
Cabin #4 | Washed all linens
Modified bench on picnic table to accommodate shade umbrella
Cabin #5 | Washed all linens
Purchased new area rug for living room
Cabin # 6 | Washed all linens
Removed closet door in bedroom, moved cubby into closet to make more room around queen mattress
Re-finished window sills
Cabin #7 | Removed wallpaper in bathroom, repaired drywall ( In process of painting and installing new bathroom sink fixture)
Washed all linens
Cabin #8 | Washed all linens
Made new throw pillows for couch-old ones disentegrated
Grounds | Installed new hose bib for locker shed/dock
5-6 cords of wood delivered in log form-cutting and splitting on-going
Equipment
Boat/Docks | Moved dock sections from lagoon to bay for season
Installed 6 new floats and repaired loose fittings
Miscellaneous | water sample analysis

## May & June 2018
DHBA Completed Maintenance - May & June 2018
Cabin #1 | Water leak near firewood shed. Dug up and repaired line with new compression coupler, filled in.
Cabin #2
Cabin #3
Cabin #4 | Sliding door maintenance
Steam cleaned carpets and furniture
New refrigerator,keeping old one for back-up
Washed all linens
Cabin #5
Cabin # 6 | New mini blind for master bedroom installed
Cabin #7 | Completed re-fresh of bathroom, installed new sink faucet.
Sliding door maintenance to rollers
Cabin #8 | steam clean of carpets and furniture
washed all linens
Grounds
cutting, splitting and distributed fire wood
Equipment
Boat/Docks | New rigging and dock bumper work for new boat
Skiff fiberglass repair
Four new buoys installed (1,2,5,6)
Miscellaneous | water sample analysis

## July & August 2018
DHBA Completed Maintenance - July & August 2018
Cabin #1
New hose bib
Steam cleaned furniture and carpets
Cabin #2 | new umbrella
Cabin #3
Cabin #4 | Steam cleaned carpeting
Cabin #5 | new umbrella
steam cleaned furniture and carpets
Cabin # 6 | new umbrella
Cabin #7 | new umbrella
Cabin #8 | new umbrella
steam clean carpeting
Grounds | cut, split and distribute firewood
Equipment | new high chair and stroller
Boat/Docks | new oar sockets for skiffs
20 hour scheduled maintenance for new boat
dock repair to ramp ( add metal strips to slip resistant covering)
Miscellaneous | water sample analysis
re-organize and clean-up toys and puzzle area

## Sept & Oct 2018
DHBA Completed Maintenance - September and October 2018
Cabin #1 | washed all linens
removed, relocated and rebuilt firewood shed-old one installed too close to drainfield
(cleaned up all debris and re-stocked)
Cabin #2 | washed all linens
Cabin #3 | installed new gas stove
removed and discarded old stove
Cabin #4 | washed alll linens
Installed septic tank viewing ports
Cabin #5
Cabin # 6 | completed front side of roof
removed nails from old shingles and re-distributed
Cabin #7
Cabin #8 | washed all linens
Grounds | Split, cut and distributed firewood
Equipment
Boat/Docks | Moved long portion of dock to lagoon for boat safety
Replaced as necessary and tightened up dock lines
Miscellaneous | water sample analysis
Caretaker Notes:
Board retreat in September
Higher occupancy than prior years
Full house many week-ends limit amount of inside improvements

## Nov & Dec 2018
DHBA Completed Maintenance - November and December 2018
Cabin #1 | kitchen inventory
cut down length of inside benches for stability
Cabin #2 | kitchen inventory
replaced flue and fiberglass packing on wood stove
cut down length of inside benches for stability
Cabin #3
Cabin #4 | Washed all linens
Deep Clean
kitchen inventory
Cabin #5 | kitchen inventory
Cabin # 6 | completed roof
removed nails from old shingles and re-distributed
kitchen inventory
re-enforced wind break
Deep Clean
Cabin #7 | kitchen inventory
Cabin #8 | Closed up a few access holes
Locker Shed | completed front side of roof
removed nails from shingles and distributed
Grounds | Split, cut and distributed firewood
clear up storm debris from 12/20 storm-moved driftwood, re-placed firepit benches
helped clear road and raked debris
Septic inspection, pumping
Equipment
Boat/Docks | Moved the boat into storage and winterized
Miscellaneous | nitrate sample analysis
Caretaker notes:
Re-stocked kitchen inventory as needed,
New wine glasses, new dinnerware, new small kitchen tools, new cake pans, cookie sheets, new non-stick pan sets.

## Jan & Feb 2019
DHBA Completed Maintenance - January and February 2019
Cabin #1 | Installed new kitchen counter
Painted kitchen cabinets, walls (removed cabinets and all hardware-sanded, primed, painted)
Re-upholstered couches, new throw pillows, new rugs
Deep clean
Washed all linens
Cabin #2 | installed new kitchen counter
Cabin #3
Cabin #4 | replaced wind break after Feb 4th storm
Cabin #5 | Replaced PVC damaged during freeze
Cabin # 6 | replaced wind break after Feb 4th storm
washed all linens
Cabin #7 | Removed and replaced paneling in north bedroom and kitchen to locate and remove "Mink nest" that was under bathtub
(Happened during flooding late December-issue did not present itself until early Jan)
Deep Clean
Washed all linens
Cabin #8 | Deep clean
Washed all linens
Closed up another hole behind chimney
Locker Shed | completed back side of roof
removed nails from shingles and distributed
removed and replaced locker ramp after electrical short/power outage from Jan 22nd
(George Lamb came down with backhoe and excavated large pit for Opalco to correct short)
Grounds | cut rounds
clear up storm debris from 2/4 storm
Equipment
Boat/Docks | rescued two members dinghies from lagoon from2/4 storm (wind ripped rope from tie-off-flipped into lagoon)
retrieved all planks from dock section that broke up in 2/4 storm
took apart old dock section to re-use metal brackets
Miscellaneous | Took truck off island and back for door adjustment (blew open while holding onto in 75 mph gust in 2/4 storm)
Jan water sample testing

## March and April 2019
DHBA Completed Maintenance - March and April 2019
Cabin #1 | refinished dining table
Cabin #2 | washed all linens
Cabin #3
Cabin #4 | washed all linens
Cabin #5 | refinished bathroom vanity, new quartz top and sink/new faucets, new mirror
removed wallpaper in bathroom and painted
Cabin # 6
Cabin #7 | washed all linens
Cabin #8
Locker Shed
Grounds | cut rounds/split and distributed
fixed pirate ship-replace missing wood
continued cleaning up debris from storms
removed broken merry -go-round character-need to fabricate something to repair
Equipment
Boat/Docks | New dock section -started build in April, completed in May
moved dock sections from lagoon to bay
Took boat out of storage and moved to Davis Bay (late April)
Miscellaneous | April water testing
Annual fire extinguisher inspection-take all over the Anacortes and back
Notes: Caretakers on vacation during 2 weeks of this period. Also, cabin's 4 and 7 cleaned weekly, linens (towels, sheets, etc) washed and rbeds/bathrooms made up weekly during water project for archaeologists and drillers

## May and June 2019
DHBA Completed Maintenance - May and June 2019
Cabin #1 | washed all linens
new grill tool shelf
Cabin #2 | washed all linens
new grill tool shelf
Cabin #3
Cabin #4 | washed all linens
new grill tool shelf
Cabin #5 | washed all linens
new grill tool shelf
Cabin # 6 | washed all linens
new grill tool shelf
Cabin #7 | washed all linens
new grill tool shelf
Cabin #8 | washed all linens
new grill tool shelf
rebuilt picnic table on north side of cabin
Locker Shed | rebuilt ramp after water line installation
Grounds | cut remainder of trees for firewood George Lamb placed near pirate ship
repaired hole in tennis court
built firewood shelter up near shop
repaired merry go round, fabricated base for bouncy character
split and distributed firewood
moved kayak rack away from electrical box
cleaned up debris, raked out road gravel after drilling
Equipment
Boat/Docks | dock bumpers installed on new section and roller bumper on end
Miscellaneous | June water testing
Took Truck off island and returned after starter replaced

## July and August 2019
DHBA Completed Maintenance - July and August 2019
Cabin #1 | washed all linens
removed/replaced paneling in master bedroom, refreshed cavity in wall for odor
Cabin #2 | washed all linens
Cabin #3
Cabin #4 | washed all linens
steam cleaned rugs and furniture
Cabin #5 | washed all linens
Cabin # 6 | washed all linens
Cabin #7 | washed all linens
steam cleaned rugs
Cabin #8 | washed all linens
steam cleaned rugs and furniture
Locker Shed
Grounds | installed new roof(corrugated greenhouse roofing)on gas shed
Cleaned, painted, rearranged and made more racks in gas shed
repaired basketball hoop
split and distributed firewood
refilled and distributed yellow jacket traps
sprayed cabin #7 yellow jacket nest in roofline
Equipment | Replaced well pump control panel
Boat/Docks | Installed four concrete bases for new tie downs for skiffs
Miscellaneous

## Sept and Oct 2019
DHBA Completed Maintenance - Sept and October 2019
Cabin #1 | washed all linens
removed/replaced paneling in master bedroom, refreshed cavity in wall for odor
( to keep odor at bay until we replace wall with cedar t & g this Winter)
Cabin #2 | washed all linens
Installed USB charger outlet
Cabin #3 | Replaced chimney cap and spark arrestor-old one damaged from heavy winds
Cabin #4 | washed all linens
Installed USB charger outlet
New roof-almost completed North side
clean up debris
Cabin #5 | washed all linens
Cabin # 6 | washed all linens
Cabin #7 | washed all linens
steam cleaned rugs
Cabin #8 | washed all linens
replaced broken rail
steam cleaned carpet
Locker Shed
Grounds | Septic Inspection-called for pump out in November
Annual nitrate test for well water
Routine water sample test
white-washed inside of pirate ship
Put "ship's wheel" on pirate ship
cut rounds from "free" wood from George Lamb's project
Equipment
Boat/Docks | Moved long section of dock to lagoon-still have remaining short dock until December
Miscellaneous
Note: Caretakers took some time off in October, see calendar for details.

## Nov and Dec 2019
DHBA Completed Maintenance - November and December 2019
Cabin #1 | washed all linens
installed USB charger outlet
touched up paint on kitchen cabinets
Cabin #2 | washed all linens
Cabin #3 | Replaced chimney cap and spark arrestor-old one damaged from heavy winds
Ordered new roll-ease blinds-to install in January
Cabin #4 | washed all linens
Installed USB charger outlet
Competed roof
clean up debris (17.5 square) and distributed to islanders
Installed skylight
steam clean carpets and furniture
Cabin #5 | washed all linens
Installed USB charger outlet
Cabin # 6 | washed all linens
Installed USB charger outlet
Cabin #7 | washed all linens
| Made new curtains | for small bedroom
Installed USB charger outlet
Cabin #8 | washed all linens
Installed USB charger outlet
touched up paint on kitchen cabinets
touched up paint on benches
Made new curtains for small bedroom
Locker Shed
new toys and games
Grounds | cut more rounds/split and distributed
Rainbow septic pumped out 1 and 3, skimmed 6 and 7
Equipment
Boat/Docks | Winterized boat
Pulled boat from water to winter storage
Miscellaneous
Note: Caretakers took some time off in October, see calendar for details.

## January 2020
DHBA Completed Maintenance - January 2020
Cabin #1 | Opened up wall in master bedroom and refreshed with cedar chips
Cabin #2
Cabin #3 | Installed new roll-ease blinds
repaired/replaced two outlets in spare room
Cabin #4 | Installed mini-blinds from cabin #7, verticals broken
Cabin #5
Cabin # 6 | Repair kitchen outlet, north wall
Cabin #7 | Repairs to plumbing under cabin
Installed new roll-ease blinds
Cabin #8
Locker Shed
Grounds | Cut 4 more cords of wood and split/distributed as needed
Cleaned and re-organized work shop for new caretaker
Equipment
Boat/Docks | Completely removed dock for winter- ramp on beach on Davis Bay, the rest in the lagoon
Repaired main ramp section of dock-removed two leaking floats and installed two replacements
Miscellaneous | January water test

## Mar and Apr 2020
DHBA Completed Maintenance - March and April 2020
Cabin #1 | Install CO detector
Deep clean
Clean, fix and install screen doors
Cabin #2 | Install CO detector
Deep clean
Clean, fix and install screen doors
Cabin #3 | Install CO detector
Install smoke alarm
Cabin #4 | Install CO detector
Deep clean
Clean, fix and install screen doors
Cabin #5 | De-winterized
Locate and replace multiple broken pipes under cabin
Deep clean
Install CO detector
Clean, fix and install screen doors
Cabin # 6 | De-winterized
Replaced cracked water filter housing
Fix broken connection under sink in bathroom
Deep clean
Install CO detector
Cabin #7 | Install CO detector
Clean, fix and install screen doors
Deep clean
Cabin #8 | Install CO detector
Clean, fix and install screen doors
Deep clean
Locker Shed | clean freezers
Grounds | Cleaned winter debris from tennis court
Mow around cabins and sport court
Closed playground and sport court per San Juan County Covid-19 order
Clean out ash from outdoor fire pits
Equipment | Record meter reading for well pump
Fixed stuck tailgate on truck
Boat/Docks | Additional insured certificate for Bayside Marina
Move docks from lagoon and beach and attach to pier - reattach floats that had come off during move with backhoe
Repair undercut damage from pier
Clean community skiffs
Pressure wash sections of dock
Replace torn non-skid on dock
Launch boat, charge batteries and deep clean
Miscellaneous | Bucked 4 logs from Opalco free wood section for firewood
Troubleshoot office computer not starting - deep clean CPU, replace power supply
Centurylink rep out to help with slow internet mbps and error with phone lines
Water sample to lab
Learn and help with Decatur Island community fire trucks
Clean compost/wood splitting area
Split wood and distributed to cabin sheds
Clean shop, haul trash away

## May and Jun 2020
DHBA Completed Maintenance - May and June 2020
Cabin #1 | clean and reseason all cast iron pans
Clean and re-screen screen door
Replace charcoal water filter
Clean ash from Weber grill
Clean picnic table and wood steps
Clean and disinfect cabin, wash exterior windows prior to opening
Replace range and store old range in shop
Cabin #2 | clean and reseason all cast iron pans
Clean and re-screen screen door
Clean ash from Weber grill, replace deteriorated charcoal starter
Clean picnic table and wood steps
Clean and disinfect cabin, wash exterior windows prior to opening
Fix hook in bathroom
Cabin #3 | Replace charcoal water filter
Cabin #4 | Clean picnic table and wood steps
clean and reseason all cast iron pans
Clean and re-screen screen door
Flip rotten deck bench lumber and treat for termites
Clean ash from Weber grill, install new handle and grate
Clean and disinfect cabin, wash exterior windows prior to opening
Remove both sliding doors, lubricate rollers
Cabin #5 | Clean picnic table and wood steps
Locate new pipe leak and fix
clean and reseason all cast iron pans
Clean and re-screen screen door
New firepit bench
Clean and disinfect cabin, wash exterior windows prior to opening
Clean ash from Weber grill
Tighten handles on bathroom faucet
Cabin # 6 | Clean picnic table and wood steps
Clean, fix and re-screen screen door
Add additional support to fix deck bench
clean and reseason all cast iron pans
Replace charcoal water filter
Clean and disinfect cabin, wash exterior windows prior to opening
Fix broken bathroom faucet hose
Clean ash from Weber grill
Cabin #7 | Clean picnic table and wood steps
Clean and re-screen screen door
clean and reseason all cast iron pans
Remove both sliding doors, replace roller, lubricate
Clean and disinfect cabin, wash exterior windows prior to opening
Replace range and haul old range off island to recycler
Fix leaking tub drain - new shoe gasket and plumber's putty, ventilate to dry floor
Clean ash from Weber grill
Cabin #8 | Clean picnic table and wood steps
Clean and re-screen screen door
clean and reseason all cast iron pans
Replace charcoal water filter
Clean and disinfect cabin, wash exterior windows prior to opening
Remove failing microwave, replace with cabin 3's
Clean ash from Weber grill, replace deteriorated charcoal starter
Locker Shed | Clean shelves, sweep, wash windows
Remove all baby gear and store in locker shed
Grounds | Mow around cabins, sport court and pirate ship
Fill firewood sheds
Create and install gate near pirate ship
Replace charcoal water filter in laundry room
New fish cleaning table
New windbreaks for crab cookers
Restring flag pole line
Hose menders for 7 hoses
Pressure wash tennis court
Trim roses back from fire pump #2 and wood shed
Scrub decks of pirate ship, patch rotten floor
Equipment | Recert 13 fire extinguishers - Anacortes
Clean truck inside and out
Run, service and fix fire pumps 1 and 2
Boat/Docks | Pressure wash docks - lagoon and Davis Bay
Clean, organize and whip ends of dock, boat and fender lines
Miscellaneous | Assist with Decatur Island firetrucks/attend drills and meetings
Clean/organize shop
Buck logs at Mazuta's and split wood
Daily disinfecting of communal areas
Dig out full compost and clean area
Water sample

## Jul & Aug 2020
DHBA Completed Maintenance - July and August 2020
Cabin #1 | Wash all bed linens
Fix vanity drawer
Fix broken screen door
Wash and bleach shower curtains
Replace roller blind cord and install kitchen valance
Replace broken umbrella pole
Repair kitchen valance
Cabin #2 | Wash all bed linens
Wash and bleach shower curtains
Cabin #3
Cabin #4 | Fix broken step
Remove sliding glass door and replace rollers
Wash and bleach shower curtains
Wash all bed linens
Cabin #5 | Add/replace felt pads under dining table and chairs
Wash and bleach shower curtains
Replace roller on screen door
Wash all bed linens
Try to repair BBQ - replaced with new
Cabin # 6 | Wash and bleach shower curtains
Wash all bed linens
Replace faulty reading light in north bedroom
Fix broken screen door
Check underneath cabin for otter, mink, or mice
Cabin #7 | Wash and bleach shower curtains
Add/replace felt pads under dining table and chairs
Wash all bed linens
Repair screen door
Cabin #8 | Wash and bleach shower curtains
Wash all bed linens
Remove bathroom sink drain and clear clog
Install new bench around campfire
Repair screen door
Locker Shed | Clean and organize
Grounds | Mow around cabins, sport court and pirate ship
Fill firewood sheds
Sand and paint exterior of fuel shed door
Dismantle old fish cleaning table, burn rotten wood and haul remainder off island
Organize crab pot area, weed wack tall grass, take rusted/broken crab traps to town garbage
Line up contractor for fall dredging
Hang jellow jacket traps and rebait frequently
Equipment | Clean truck inside and out
Run fire pumps 1 and 2
Repair split oar
Clean bottoms of DHBA dinghies
Run Makita generator
Fix Honda lawn mower self propell, change oil, add fuel cleaner
Oil truck chassis
Replace broken dock cart wheels (2 carts), replace broken leg
Renew Meraki licenses for internet
Fix spark plug wire on pressure washer and change oil
Check/change oil and hydraulic fluids in log splitter
Replace broken chain brake handle on chainsaw
Replace broken oar lock
Boat/Docks | Haul boat and change outboard oil and gear oil
Troubleshoot bildge pump going on
Clear otter debris off docks frequently
Wash boat, check mooring lines
Miscellaneous | Assist with Decatur Island firetrucks/attend drills and county training seminar
Clean/organize shop
Buck logs at Mizuta's and split wood
Daily disinfecting of communal areas
Dig out full compost and clean area
Water sample x2 (July and August)
Go through office 1st aid kit and replace expired meds
Research new computer for office

## Sep & Oct 2020
DHBA Completed Maintenance - September & October 2020
Cabin #1 | Remove mice and rebait traps
Replace smoke alarm battery
Remove screen doors for winter
Wash and bleach shower curtain
Wash all bed linens
Fix roller blind
Cabin #2 | Remove mice and rebait traps
Use steel wool under cabin to prevent mice from entering
Replace smoke alarm battery
Remove bathroom sink drain and clear clog
Remove screen doors for winter
Wash and bleach shower curtain
Wash all bed linens
Cabin #3 | Remove mice and rebait traps
Use steel wool under cabin to prevent mice from entering
Remove screen doors for winter
Troubleshoot leaking toilet - replace wax with extra thick wax ring, clean floor flange of grout, tighten bolts
Cabin #4 | Remove mice and rebait traps
Replace smoke alarm battery
Remove screen doors for winter
Wash and bleach shower curtain
Wash all bed linens
Cabin #5 | Remove mice and rebait traps
Replace smoke alarm battery
Remove screen doors for winter
Wash and bleach shower curtain
Wash all bed linens
Cabin # 6 | Remove mice and rebait traps
Replace smoke alarm battery
Remove screen doors for winter
Wash and bleach shower curtain
Wash all bed linens
Cabin #7 | Remove mice and rebait traps
Use steel wool under cabin to prevent mice from entering
Replace smoke alarm battery
Remove screen doors for winter
Wash and bleach shower curtain
Wash all bed linens
Cabin #8 | Clean hair clog out of tub
Remove mice and rebait traps
Restitch couch pillow
Remove screen doors for winter
Wash and bleach shower curtain
Wash all bed linens
Locker Shed | Clean and organize - remove duplicate/old games and puzzles
Grounds | Mow around cabins, sport court and pirate ship
Fill firewood sheds
Organize crab pot area, take rusted/broken crab traps to town garbage
Work with contractor for fall dredging - permits, stake out dredge perimeter, stake elevations
Hang jellow jacket traps and rebait frequently; remove for winter
Assemble and disassemble party tent for BOT retreat
Take down driftwood fort (2 of 4)
Blow leaves and tree debris off sport court
Move dinghies up the beach north of dock, add anchor line, attach all dinghies to line
Move two dinghies up to shop for storage
Inspect and clean filters of all septic systems - Kent Schaffer
Equipment | Clean truck inside and out
Create instructions for fire pumps and run drills
Clean bottoms of DHBA dinghies
Replace broken dock cart handle on two dock carts
Run Makita generator
Boat/Docks | Take boat in and out of lagoon to find lowest tide able to enter - 6ft
Clear otter debris off docks frequently
Wash boat, check mooring lines
Haul boat, sand, and paint bottom
Disassemble dock, tow three sections to lagoon, reassemble shortened dock
Move boat to lagoon for NE gale, add additional lines to prevent lagoon dock from moving in winds
Miscellaneous | Assist with Decatur Island firetrucks/attend drills and county training seminar
Buck logs at Mizuta's and split wood

## Nov & Dec 2020
DHBA Completed Maintenance - November & December 2020
Cabin #1 | Remove mice and rebait traps
Install new fridge and move old fridge to shop. Remove cabinet above fridge and reinstall at new height.
Remove old wallpaper behind fridge and paint wall
Touch up paint on kitchen cabinets
Replace flashlight batteries
Pump septic scum layer
Clean BBQ, store utensils and chimney inside BBQ, store all inside cabin
Remove all window screens and store inside cabin
Wrap faucet and water line into cabin with heated wires and insulation
Cabin #2 | Remove mice and rebait traps
Remove fridge door and spray appliance paint to cover rust stains
Replace burned out microwave
Pump septic scum layer
Clean BBQ, store utensils and chimney inside BBQ, store all inside cabin
Remove all window screens and store inside cabin
Clean fireplace door and reattach rope gasket with sealant
Wrap faucet and water line into cabin with heated wires and insulation
Cabin #3 | Remove mice and rebait traps
Caulk exterior bedroom and office windows to prevent draft during strong south winds
Scrape out mildewed tub caulk and reapply
Replace flashlight batteries
Pump septic scum layer
Disconnect hoses from faucets
Remove all window screens and store inside cabin
Wrap faucet and water line into cabin with heated wires and insulation
Clear slow draining bathroom sink pipes
Cabin #4 | Remove mice and rebait traps
Pump septic scum layer
Fix broken pipe under cabin
Disconnect hoses from faucets
Clean BBQ, store utensils and chimney inside BBQ, store all inside cabin
Remove all window screens and store inside cabin
Wrap faucet and water line into cabin with heated wires and insulation
Troubleshoot outdoor outlet, replace broken cover
Cabin #5 | Remove mice and rebait traps
Troubleshoot electrical issue with kitchen and living room heater circuit. Bring in temporary space heaters until fixed
Open heaters and thermostat, check wiring - both heaters had loose wiring, tighten, add new wire nuts
Replace flashlight batteries
Fix broken pipes under cabin
Disconnect hoses from faucets
Winterize - shut off water, drain hot water tank, blow residual water out of lines, empty toilets of water, add antifreeze to toilet bowl and sink drains
Unplug fridge, sweep under fridge, prop doors open
Clean BBQ, store utensils and chimney inside BBQ, store all inside cabin
Move all chairs and garbage can inside cabin
Wash all bed linens and store in plastic contractor bag
Remove all window screens and store inside cabin
Wash and bleach shower curtain to remove mildew
Wrap faucet and water line into cabin with heated wires and insulation
Cabin # 6 | Remove mice and rebait traps
Caulk around tub and shower liner seams
Replace exterior shingles that were ripped off when privacy fence blew down in strong winds
Remove blown down privacy fence
Replace flashlight batteries
Pump septic scum layer
Disconnect hoses from faucets
Wrap faucet and water line into cabin with heated wires and insulation
Cabin #7 | Remove mice and rebait traps
Replace flashlight batteries
Replace leaking faucet valve - exterior
Disconnect hoses from faucets
Winterize - shut off water, drain hot water tank, blow residual water out of lines, empty toilets of water, add antifreeze to toilet bowl and sink drains
Unplug fridge, sweep under fridge, prop doors open
Clean BBQ, store utensils and chimney inside BBQ, store all inside cabin
Move all chairs and garbage can inside cabin
Wash all bed linens and store in plastic contractor bag
Remove all window screens and store inside cabin
Wash and bleach shower curtain to remove mildew
Shut down main water line and replace leaking ball valve
Wrap faucet and water line into cabin with heated wires and insulation
Cabin #8 | Remove mice and rebait traps
Haul lumber to island for stairs. Remove rotten north stairs off porch. Replace with new treads, stringers and handrails
Caulk around tub and shower liner seams
Replace concrete lids with county approved risers and sealed lids
Pump septic scum layer
Haul large A-frame ladder into cabin to troubleshoot ceiling fan/light
Wrap exposed pipes under cabin
Disconnect hoses from faucets. Install covers over faucets.
Winterize - shut off water, drain hot water tank, blow residual water out of lines, empty toilets of water, add antifreeze to toilet bowl and sink drains
Unplug fridge, sweep under fridge, prop doors open
Clean BBQ, store utensils and chimney inside BBQ, store all inside cabin
Move all chairs and garbage can inside cabin
Remove all window screens and store inside cabin
Wash all bed linens and store in plastic contractor bag
Wash and bleach shower curtain to remove mildew
Wrap faucet and water line into cabin with heated wires and insulation
Locker Shed | Wrap faucet with heated wire and insulation
Grounds | Fill firewood sheds
Prep for dredge with stakes and photos. Contact adjacent property owner. Project manage during dredge.
Buck fallen alder on sport court fence and haul debris out of sport court. Rig come along to safely pull down remainder of tree. Buck into rounds
Remove lumber from top of fence, use truck and pulley to stand fence pole back up until new lumber can be installed
Track down and reposition firepit benches after king tides floated them away
Track down and retrieve gate sign in middle of lagoon that blew off in a storm
Use chainsaw, weed wacker, and loppers to trim Head perimeter trail. Mark trail with flagging tape.
Fill pot holes in road with course gravel near cabin 2
Take old rusted crab pots to town for disposal
Install new headband on tennis court net.
Equipment | Rear truck window broke from log round bouncing and chipping corner - safety glass spider webbed across. Removed broken window and replaced with new
Run Affresh cleaning tablets through washers
Troubleshoot truck hood not opening - fix.
Oil and oil filter change on truck
Top up brake fluid on truck
Boat/Docks | Wash boat, check mooring lines
Add rails to lagoon dock ramp after ramp fell off dock
Reinstall float marking outer north dock anchor
Update skiff list, note current registration and send to dinghy committee
Repair torn non-skid on dock ramp
Bring in fill material to smooth transition from concrete at dock pier to land - king tides keep washing material away
Move all dock sections to lagoon. Secure ramp with anchor lines.
Use boat to chase down dock float that had come loose in winds.
Miscellaneous | Buck logs at Mizuta's and split wood
Overhaul old caretaker manual

## Jan & Feb 2021
DHBA Completed Maintenance - January and February 2021
Cabin #1 | Remove mice and rebait traps
Weekly walk throughs
Tighten electrical outlets
Replace incandescent bulbs with LEDs
Monitor during freezing temps Feb 9-14, turn on heat, open kitchen and bath cupboards to allow heat in to pipes, check heated wire was working
*5 vacation days plus 2 two weekends off island for caretakers in January
*5 vacation days plus 2 two weekends and a flex day off island for caretakers in February
Cabin #2 | Remove mice and rebait traps
Weekly walk throughs
Tighten electrical outlets
Replace incandescent bulbs with LEDs
Monitor during freezing temps Feb 9-14, turn on heat, open kitchen and bath cupboards to allow heat in to pipes, check heated wire was working, turn on faucets
Inventory cabins, replace missing items
Cabin #3 | Remove mice and rebait traps
Rebuild broken fence between cabins 3 & 4
Schedule propane delivery - filled on Jan 21
Limb fir tree between cabins 3 & 4, remove dead debris, burn
Monitor during freezing temps Feb 9-14, turn on heat, open kitchen and bath cupboards to allow heat in to pipes, check heated wire was working
Pressure wash back decks
Cabin #4 | Remove mice and rebait traps
Haul driftwood log to front to replace rotten bulkhead, chainsaw old log and remove, cut new log and install
Weekly walk throughs
Tighten electrical outlets, replace broken outlet cover
Replace incandescent bulbs with LEDs
Monitor during freezing temps Feb 9-14, turn on heat, open kitchen and bath cupboards to allow heat in to pipes, check heated wire was working, turn on faucets
Troubleshoot and fix surface element on range that was not turning off
Cabin #5 | Remove mice and rebait traps
Weekly walk throughs
Tighten electrical outlets
Replace incandescent bulbs with LEDs
Burn creosote sweeping log
Deep clean
Monitor during freezing temps Feb 9-14, turn on heat, open kitchen and bath cupboards to allow heat in to pipes, check heated wire was working
Troubleshoot dripping water line to toilet, check fixtures, tighten packing nut
Inventory cabins, replace missing items
Cabin # 6 | Remove mice and rebait traps
Winterize - drain hot water tank, remove in line filtration, drain toilet, add antifreeze
Move bbq and chairs inside
Wash all bedding
Weekly walk throughs
Begin construction on new privacy screen to replace blown down screen
Tighten electrical outlets
Replace incandescent bulbs with LEDs
Deep clean
Monitor during freezing temps Feb 9-14, turn on heat, open kitchen and bath cupboards to allow heat in to pipes, check heated wire was working
Troubleshoot bath heater not turning on
Inventory cabins, replace missing items
Cabin #7 | Remove mice and rebait traps
Weekly walk throughs
Tighten electrical outlets
Replace incandescent bulbs with LEDs
Monitor during freezing temps Feb 9-14, turn on heat, open kitchen and bath cupboards to allow heat in to pipes, check heated wire was working
Research, measure, and order new hydronic heaters for entire cabin
Deep clean
Inventory cabins, replace missing items
Cabin #8 | Remove mice and rebait traps
Weekly walk throughs
Tighten electrical outlets
Replace incandescent bulbs with LEDs
Deep clean
Monitor during freezing temps Feb 9-14, turn on heat, open kitchen and bath cupboards to allow heat in to pipes, check heated wire was working
Inventory cabins, replace missing items
Locker Shed | Clear out member freezer, dispose of all food and crab bait remaining, defrost freezer, sanitize
Monitor during freezing temps Feb 9-14, check heated wire was working
Grounds | Fill firewood sheds
Clear out driftwood, garbage and floats from crab pot area after flooding
Replace gear stored under locker shed that floated out after flooding
Clear driftwood and debris from grounds after flooding
Track down and reposition firepit benches after king tides floated them away
Use chainsaw to remove large logs from grounds after flooding. Take truck load to south beach to unload.
Contact San Juan Preservation Trust to organize a survey of Head for stewardship committee.
Pick up trash washed ashore on all beaches
Monitor well room during freezing temps Feb 9-13, add additional insulation to pipe, turn on heat
Rake Head loop trail
Equipment | Sharpen chainsaw blades
Boat/Docks | Wash boat, check mooring lines
Pull out smaller bits of driftwood around lagoon dock to get at larger logs after storm and flooding. Take truck loads to south beach to unload.
Use pike poll to remove large logs from dock area that piled up after storm and king tide
Fill boat with gasoline
Check survey safety gear - flares, life jackets
Miscellaneous | Overhaul old caretaker manual
January water test

## April & May 2021
DHBA Completed Maintenance - April and May
Cabin #1 | Installed and repaired all screens taken out
Cabin #2 | Installed and repaired all screens taken out
Cabin #3 | Re-organized back room, moved shop supplies and tools to shop
Cleaned and re-organized office
Installed and repaired all screens taken out
Clean up fallen fencing, re-install and clean up yard debris
moved all firewood away from building and built firewood shed
Cabin #4 | Complete deep clean (steam clean)
Installed and repaired all screens taken out
Spray painted deck chairs to get through one more year
Cabin #5 | Remove old and replace with new hot water heater
Installed and repaired all screens taken out
Cabin # 6 | Complete deep clean (steam clean)
Installed and repaired all screens taken out
Constructed water-shut-off housing- no existing cover
Cabin #7 | Remove old and replace with new hot water heater
Installed and repaired all screens taken out
Removed and cleaned out kitchen faucet calcium deposits
Cabin #8 | Finish deep clean(steam clean)
Installed and repaired all screens taken out
Touched up painted kitchen cabinets
Locker Shed | Re-organize and straighten toys and life jackets, clean and turn on freezers
Grounds | Removed disintegrated merry-go-round, painted chalkboard paint inside Pirate ship. Along with some chalk and eraser
Continuing removal of alder debris and re-building of destroyed compost area
Removal and replacement of well pump, tubing and gauges(with A & A Well)
Removed and replaced portion of shop roof in the way of removing well pump
Hauled logs from golf course trees down, cut up and distributed
Removal of old and added new stainless barbeque tools, and charcoal chimneys as needed
Walked trail on the head, cleared debris
Equipment | Renewed fire extinguishers, next year we will be back on track on our maintenance schedule-they should be done in March when cabins are empty
Barged truck off island for new starter and ball joint replacement
Boat/Docks | Purchased new bird abatement, couldn't locate existing
Went through 10 floats up at shop, 8 still viable-need to be re-attached to docks
Miscellaneous | Re-organized shop, cleaned up work completed items left around
April water test
Completed quarterly marine large debris survey on South Beach for COASST-University of Washington
Assisted with maintenance on golf course-some grounds work
Removed old hot water heaters, grills and garbage and took to Anacortes facility
Notes: The Pratt's resumed maintenance April 17th
Mice abatement and walk throughs are completed daily when cabins are empty
If occupied this is done between member stays. Will not be noted in detail
Beach trash removal is an ongoing maintenance task and will not be mentioned monthly, as is refillling of truck and boat fuel, and other ancillary tasks.

## June & July 2021
DHBA Completed Maintenance - June and July
Cabin #1 | cleaned vacuum cleaner including removal and washing of all filters
Washed all linens
replaced bathroom light fixture
Cabin #2 | cleaned vacuum cleaner including removal and washing of all filters
washed all linens
Cabin #3 | abundance of herbs available to members-basil, tarragon, oregano, rosemary
Cabin #4 | cleaned vacuum cleaner including removal and washing of all filters
washed all linens
Repaired plumbing under sink
steam cleaned carpet
Cabin #5 | cleaned vacuum cleaner including removal and washing of all filters
washed all linens
Cabin # 6 | cleaned vacuum cleaner including removal and washing of all filters
washed all linens
steam cleaned carpet
Cabin #7 | cleaned vacuum cleaner including removal and washing of all filters
washed all linens
repaired outside steps
Cabin #8 | cleaned vacuum cleaner including removal and washing of all filters
washed all linens
repaired outside steps on south side
Locker Shed | Removed another two bags of old toys, puzzles and debris
Removed all nonfunctional fishing poles
Added life jacket hooks to hang on wall
Grounds | Gas shed-painted another coat of white, removed old gas cans, cleared debris off island
Hauled away two rusty crab boilers
Distributed firewood
refilled yellow jacket traps
Equipment | Barged truck off island and back for alternator replacement
Boat/Docks | Removed 27 crab traps from area near locker shed. Took off island, gave away around 20 of them. Others still up near shop pending removal
Removed and replaced both boat batteries and one bilge pump, have extra on hand
Attached four bags of Olympia oysters to docks- to be moved to a more permanent position in the Winter
Miscellaneous | Moved compost area, created fenced off area for debris
created new worm bin for cardboard an shredded office paper
June and July water tests
Mice abatement and walk throughs are completed daily when cabins are empty
If occupied this is done between member stays. Will not be noted in detail
Beach trash removal is an ongoing maintenance task and will not be mentioned monthly, as is refillling of truck and boat fuel, and other ancillary tasks.

## August & Sept 2021
DHBA Completed Maintenance - August & September 2021
Cabin #1
Washed all linens-including shower curtain
Cabin #2 | Washed all linens-including shower curtain
Cabin #3
Cabin #4
Washed all linens-including shower curtain
steam cleaned carpets downstairs
Cabin #5
Washed all linens-including shower curtain
Cabin # 6 | cleaned fireplace glass insert
Washed all linens-including shower curtain
steam cleaned carpet
Cabin #7 | replaced kitchen faucet
Washed all linens-including shower curtain
steam cleaned carpets
Cabin #8
Washed all linens-including shower curtain
steam cleaned carpets
Locker Shed | Added new shelving and clear plastic totes for toys, life jackets now stowed on shelves
Grounds
purged old wood and various debris from shop area -hauled away 20 bags off island
Distributed firewood
refilled yellow jacket traps
mowed, trimmed and blew off tennis court
Equipment
Boat/Docks | Removed another 10 crab pots off island
Miscellaneous | Amerigas re-filled large propane tanks near office
Mice abatement and walk throughs are completed daily when cabins are empty
If occupied this is done between member stays. Will not be noted in detail
Beach trash removal is an ongoing maintenance task and will not be mentioned monthly, as is refillling of truck and boat fuel, and other ancillary tasks.

## Oct & Nov 2021
DHBA Completed Maintenance - October & November 2021
Cabin #1 | Sharpened kitchen knives
Washed all linens-including shower curtain
Touched up paint on kitchen cabinets
Cabin #2 | Washed all linens-including shower curtain
repaired firebox on woodstove, cured slowly
Sharpened kitchen knives
Cabin #3 | Replaced light fixture over stove(old one corroded and broken)
Cabin #4 | replaced kitchen light fixture(rusted and dangling)
Washed all linens-including shower curtain
Sharpened kitchen knives
new zero gravity chairs (2) hauled away old metal ones to dump in town
Cabin #5
Washed all linens-including shower curtain
sewed new curtains for south bedroom(old curtains threadbare)
Sharpened kitchen knives
Cabin # 6 | Replaced over oven light
Washed all linens-including shower curtain
Sharpened kitchen knives
replaced rotten board on deck
Cabin #7 | Refurbished larger knife block-replaced small one
Washed all linens-including shower curtain
Sharpened kitchen knives
Cabin #8 | Sharpened kitchen knives
Washed all linens-including shower curtain
steam cleaned living room carpets
Touched up paint on kitchen cabinets and benches
Locker Shed | Moved all nets out of elements
Grounds | Annual Septic inspection-all fine-no repairs needed
partially completed tennis court fence repair
Distributed firewood
cleaned up debris from 1st flooding of season (11/9)
Equipment | touched up paint on top loader washer and freezer
Boat/Docks | removed all dock sections to lagoon for winter
moved all skiffs from north side of dock to south side of dock
(to facilitate repair of base of dock access, and to anchor better on higher ground after flloding event on 11/9)
concrete repair to pier at base of dock
Moved all hoses and debris from base of dock
Miscellaneous | created smaller room in shop for furniture repair and refinshing
October water sample tests for coliform. Annual nitrate and chloride tests-all fine
put up small wooden house numbers (issues with older parents of members and guests not knowing which was which, stained to match cabin with black accent)
great stuff in mouse access holes in cabins from underneath
Mice abatement and walk throughs are completed daily when cabins are empty
If occupied this is done between member stays. Will not be noted in detail
Beach trash removal is an ongoing maintenance task and will not be mentioned monthly, as is refillling of truck and boat fuel, and other ancillary tasks.

## Dec-Feb 2022
DHBA Completed Maintenance -December 2021 and Jan-Feb 2022
Cabin #1 | New stove, old one in shop awaiting new panel board
Washed all linens-including shower curtain
Removed broken heater out of loft-installed new baseboard
Cabin #2 | Washed all linens-including shower curtain
Repaired broken water pipes ( from cold snap Christmas week) 8 breaks
Steam cleaned carpet downstairs (new one from member to replace outdoor one that was falling apart)
Repaired broken toilet supply line from cold 2/22-2/24
Sewed new curtains for bedroom and loft
New side lamps(with usb ports) and couch floor lamp
Cabin #3 | Defrosted water lines and frozen drain lines (Christmas week) no breaks
Cabin #4
Washed all linens-including shower curtain
Steam cleaned downstairs carpet
Cabin #5
Washed all linens-including shower curtain
Repaired broken water pipes (from cold smap Christmas week) 10 breaks
Repaired broken water pipes (from cold 2/22-2/24
Roofing shingles delivered and staged waiting for warmer weather
Cabin # 6 | Replaced seat cushions on couches with new more supportive foam
Washed all linens-including shower curtain
Steam cleaned downstairs carpet
Defrosted frozen drain line from tub (Christmas week) no breaks
Cabin #7 | Painted bathroom
Washed all linens-including shower curtain
Cabin #8 | Painted bathroom
Washed all linens-including shower curtain
Locker Shed | Emptied and cleaned out member freezer
Grounds | Rainbow Septic pumped out 2 and 3, skimmed 4,5,6,7
Backboard installed on tennis court fence-to be painted as weather warms
Distributed firewood and cut new rounds from new supply on island
Cleaned up debris from 2nd flooding of season (12/27 - 1/1) Major logs to be removed with backhoe when dock is repaired
Gravel delivered (12 yards 3/4" minus) to spread on drive after dock repair
(Waiting for lower tides to work on dock repair-water levels too high)
Equipment
Affresh washer cleaner
Boat/Docks | Replaced trailer tires with new
Anchor buoys registration
Miscellaneous | January water sample-all fine
Set up account with new propane supplier (Inter Island Propane)-Amerigas stopped delivering to Decatur Island
(Purchased leased tanks for new service-propane topped off)
Mice abatement and walk throughs are completed daily when cabins are empty
If occupied this is done between member stays. Will not be noted in detail
Beach trash removal is an ongoing maintenance task and will not be mentioned monthly, as is refillling of truck and boat fuel, and other ancillary tasks.

## March & April 2022
DHBA Completed Maintenance -March and April 2022
Cabin #1 | Painted bathroom
Washed all linens-including shower curtain
Kitchen/cabin inventory-replaced as needed
Cleaned and stripped old wooden deck chairs, oiled wood, sewed new outside cushions
Cabin #2 | Washed all linens-including shower curtain
Kitchen/cabin inventory-replaced as needed
Removed rusted/broken spotlight at peak of roof
Cabin #3 | Cleaned up office planting area-new flowers
Cleaned up flooded area around stairs-new flowers and herbs
Constructed small green house in side yard and added more vegetable (to share) beds
Cabin #4 | Washed all linens-including shower curtain
Painted benches in kitchen
Kitchen/cabin inventory-replaced as needed
Cabin #5 | completed front side of roof-back in the Fall
Washed all linens-including shower curtain
Kitchen/cabin inventory-replaced as needed
Replaced overhead broken kitchen light
Cabin # 6
Washed all linens-including shower curtain
Steam cleaned downstairs carpet
Deep clean
Kitchen/cabin inventory-replaced as needed
New side lamps(w/USB ports) and floor lamp in living room-distributed old lamps to cabin 7
Cabin #7 | New curtains w/room darkening shade large bedroom
Washed all linens including shower curtain
Steam cleaned all furniture and carpeting
Deep clean
Lamps from cabin 6 brought over for bedroom and living room
Kitchen/cabin inventory-replaced as needed
Cabin #8 | Deep Clean
Washed all linens-including shower curtain
Steam cleaned all furniture and carpeting
Kitchen/cabin inventory-replaced as needed
Repaired broken step on south side of porch
Repaired , and put new bracket on front slider
Locker Shed | Cleaned member freezer and plugged in for the season
Grounds | Completed backboard at tennis count
Built new firewood storage shed to support backboard
Dug trench around two sides of tennis court for pressure washing and resurfacing in late May
Distributed firewood and cut new rounds
Completed clearing of large logs from flooding
Spread delivered gravel on drive and around dock area
Brought boulders down from shop area (with backhoe) to line drive near dock, (Building up process for drive)
Equipment | Removed 8 more unmarked crap traps to shop(will stage for one year in case member claims)
Affresh washer cleaner in front loader
New lawnmower purchased
Boat/Docks | Brought out dock from lagoon to bay
Constructed two footers to support land based dock portion
Cleaned up hose/meraki wire and covered with tubing for protection
Relocated some skiffs to accommodate location for DHBA skiffs near flagpole - Decals affixed
Removed unusable(broken or sailboats) to area behind shop
Miscellaneous | April water sample-all fine
Mice abatement and walk throughs are completed daily when cabins are empty
If occupied this is done between member stays. Will not be noted in detail
Beach trash removal is an ongoing maintenance task and will not be mentioned monthly, as is refillling of truck and boat fuel, and other ancillary tasks.

## May and June 2022
DHBA Completed Maintenance -May and June 2022
Cabin #1 | Steam cleaned furniture and loft
Washed all linens-including shower curtain
Cabin #2 | Washed all linens-including shower curtain
Cabin #3 | Abundance of herbs, swiss chard and kale available for members
Cabin #4 | Washed all linens-including shower curtain
Cabin #5 | Repaired leak under bathroom sink
Washed all linens-including shower curtain
Cabin # 6
Washed all linens-including shower curtain
Steam cleaned furniture
Cabin #7
Washed all linens including shower curtain
Cabin #8
Washed all linens-including shower curtain
Locker Shed
Grounds | Completed backboard at tennis count
Resurfaced tennis court
Installed new tennis net
Distributed firewood and cut new rounds
Re-filled and set out yellow jacket traps
Equipment
Boat/Docks
Miscellaneous | June water sample-ok
Mice abatement and walk throughs are completed daily when cabins are empty
If occupied this is done between member stays. Will not be noted in detail
Beach trash removal is an ongoing maintenance task and will not be mentioned monthly, as is refillling of truck fuel, and other ancillary tasks.

## July & August 2022
DHBA Completed Maintenance -July & August 2022
Cabin #1
Washed all linens-including shower curtain
Cabin #2 | Washed all linens-including shower curtain
Cabin #3 | Abundance of herbs,beans, and kale available for members
Cabin #4 | Washed all linens-including shower curtain
Steam cleaned carpeting downstairs
Cabin #5
Washed all linens-including shower curtain
Cabin # 6
Washed all linens-including shower curtain
Steam cleaned downstairs carpet
Cabin #7
Washed all linens including shower curtain
Cabin #8 | Steam cleaned carpeting downstairs
Washed all linens-including shower curtain
Locker Shed
Grounds | Striped for Pickleball
Built and installed Pickleball locker at tennis court
Distributed firewood and cut new rounds
Re-filled and set out yellow jacket traps
Equipment | Tightened steering column linkage on truck
Removed more unclaimed, unmarked crab pots
Boat/Docks | Alpha Marine inspected buoys-replaced buoy #8, all okay
Miscellaneous | July water sample-ok
Mice abatement and walk throughs are completed daily when cabins are empty
If occupied this is done between member stays. Will not be noted in detail
Beach trash removal is an ongoing maintenance task and will not be mentioned monthly, as is refillling of truck fuel, and other ancillary tasks.

## Sept & Oct 2022
DHBA Completed Maintenance -Sept and Oct
Cabin #1 | Replaced shower head with hand held
Washed all linens-including shower curtain
Changed woodshed by blocking off sw opening and using back for entry
kitchen inventory
Cabin #2 | Washed all linens-including shower curtain
kitchen inventory
Cabin #3 | Insulated outside wall of office
Installed new kitchen faucet-old one inoperable
Cabin #4 | Washed all linens-including shower curtain
Steam cleaned carpeting in living room and bedroom
New Williams Sonoma dishware, service for 12
kitchen inventory
Cabin #5 | Steam cleaned bedrooms and hallway
Washed all linens-including shower curtain
kitchen inventory
Cabin # 6 | Replaced shower head with hand held
Washed all linens-including shower curtain
Steam cleaned downstairs carpet
New cutlery service for 12
kitchen inventory
Cabin #7 | Replaced shower head with hand held
Washed all linens including shower curtain
kitchen inventory
Cabin #8 | Steam cleaned all carpeting downstairs
Washed all linens-including shower curtain
Replaced shower head with hand held
New cutlery service for 12
kitchen inventory
Locker Shed | Closed down member freezer-inoperable, new one to arrive before Primetime 2023
Grounds | Partial second coat applied to tennis court , to be completed in the Spring
(Storing balance of product in warm location to protect against freezing)
Anchored logs north of dock for beach protection during Winter, driftwood building up
Distributed firewood and cut new rounds
Moved all umbrellas, stands and chairs indoors for season
Equipment
Boat/Docks | Moved dock to lagoon for the winter
Moved member boats away from flagpole and pulled up 5 others to higher tide line for winter
Purchased 2 new dock carts
Miscellaneous | October water sample, Nitrate annual water sample-all ok
Mice abatement and walk throughs are completed daily when cabins are empty
If occupied this is done between member stays. Will not be noted in detail
Beach trash removal is an ongoing maintenance task and will not be mentioned monthly, as is refillling of truck fuel, and other ancillary tasks.

## Nov an Dec 2022
DHBA Completed Maintenance -Nov and Dec
Cabin #1
Washed all linens-including shower curtain
Winterized Mid-Dec-cold snap
Opened up again for late Dec reservation
Cabin #2 | Washed all linens-including shower curtain
install additional heat tape on plumbing under cabin
Winterized Mid-Dec-cold snap
Opened up for reservation Jan after plumbing repairs-repairs with PEX
Cabin #3
Cabin #4 | Washed all linens-including shower curtain
Winterized Mid-Dec-cold snap
Opened up again-down for plumbing repairs with PEX
Cabin #5 | install additional heat tape on plumbing under cabin
Washed all linens-including shower curtain
Winterized Mid-Dec-cold snap
Opened up again-down for plumbing repairs-repairs with PEX
Cabin # 6
Washed all linens-including shower curtain
Winterized Mid-Dec-cold snap
Opened up again Jan-inaccessible due to flooding
Cabin #7
Washed all linens including shower curtain
Winterized Mid-Dec-cold snap
Opened up again-Jan-inaccessible due to logs in drive
Cabin #8
Washed all linens-including shower curtain
Winterized Mid-Dec-cold snap
Opened up again-Jan-inaccessible due to logs in drive
Locker Shed | removal of salt-ease container-to replace with new for Prime Time 2023
clean-up after Dec flooding
Grounds | Erosion control around dock area
Delivery of 25 yards of rock, 3/4" 4" and rip rap
Distributed firewood and cut new rounds
Equipment
Boat/Docks | flooding, moving of logs blocking drive, waiting for flooding to stop before using backhoe for the rest
Buoy registration
Miscellaneous | Septic inspection, pumped out 1, 3 & 4
Mice abatement and walk throughs are completed daily when cabins are empty
If occupied this is done between member stays. Will not be noted in detail
Beach trash removal is an ongoing maintenance task and will not be mentioned monthly, as is refillling of truck fuel, and other ancillary tasks.

## Jan & Feb 2023
DHBA Completed Maintenance -Jan and Feb 2023
Cabin #1
Washed all linens
deep cleaned-steam cleaned loft and furniture
Cabin #2 | Washed all linens
deep cleaned-steam cleaned carpeting and furniture
plumbing breaks repaired with PEX
Drywall removal and repair to access leaks
Cabin #3 | Repaired plumbing break under house
Cabin #4 | Washed all linens
New curtains in downstairs bedroom, old ones threadbare, new curtain rod
repainted kitchen benches, new pads on bottom
Steam cleaned carpets and furniture
Repaired stove burner
Repaired toilet leak
Repaired breaks in copper, replace where accessible with PEX
Removed mink nest under tub, removed drywall in bathroom to do so
Drywall repair in bathroom
new Hot water Heater installed-flooding broke lines and gravel intruded
new kitchen faucet, old one corroded and filled with gravel
New fire pit
Clean up of debris between 4 and locker shed
Cabin #5 | replaced chair pads in kitchen
Washed all linens
Replaced plumbing under cabin with PEX
New firepit
Clean up of debris between 5 and 6
Deep cleaned-steam cleaned all carpets and furniture
Cabin # 6 | Replaced pads under chairs and benches, repainted benches
Washed all linens
New fire pit
Cabin #7
Washed all linens
clean up of debris around 7
Deep cleaned-steam cleaned all carpets and furniture
Cabin #8 | Used chain saw to remove logs on top of fire pit area and cleaned up debris
Washed all linens
Deep cleaned-steam cleaned all carpets and furniture
Removed cabinet over fridge for new fridge (March) larger, repaint wall
New curtains in loft area to replace threadbare ones, new curtain rod
Locker Shed | Acquired new salt ease container, retrofitting of lid for safety
Removed old games/puzzles, replaced with new ones
Grounds | Erosion control around dock area
Continued spreading of yards of gravel
Removed larger "leaning" mast on Pirate Ship
Distributed firewood and cut new rounds
Removal of logs in drive with backhoe, clean up continues of debris
Cleaned flooding debris out of gas shed
Equipment | new log splitter
Oil sensor on truck lit up-removed oil sensor-cleaned-no more lights
Loud knocking in engine in truck-removed and cleaned spark plugs and valve intake of carbon build-up -no more knocking
Disabled automatic door locks on truck-Member locked keys in it-no more
New member freezer on order-expect in March
Boat/Docks | concrete repair on dock base
moving of larger rocks around base of dock for protection from high water waves
Miscellaneous | water sample-all okay
Replaced dryer vents, repaired lint screen on dryer
Skiff inventory-none lost in flooding
Mice abatement and walk throughs are completed daily when cabins are empty
If occupied this is done between member stays. Will not be noted in detail
Beach trash removal is an ongoing maintenance task and will not be mentioned monthly, as is refillling of truck fuel, and other ancillary tasks.

## March & April 2023
DHBA Completed Maintenance -March and April 2023
Cabin #1 | Sanded deck chairs
Washed all linens
New fireplace insert installed by Craft Stove
Masonry (brick) removal for air intake vent for fireplace insert
Kitchen/cabin inventory-replaced as needed
Cabin #2 | Washed all linens
Kitchen/cabin inventory-replaced as needed
New flatware set
Cabin #3 | Cleaned up office planting area-new flowers
Cleaned up area at base of main stairs of flood debris-new flowers
New vegetables and herbs to share
Cabin #4 | Washed all linens
Steam cleaned downstairs carpets
Kitchen/cabin inventory-replaced as needed
Repainted bathroom after drywall repair-same color
Cabin #5 | Replaced bathroom faucet, gravel intrusion with flooding
Washed all linens
Set up scaffolding and roof jacks for roof install in May
Kitchen/cabin inventory-replaced as needed
New flatware set
Cabin # 6
Washed all linens
Kitchen/cabin inventory-replaced as needed
New flatware set
Cabin #7 | New firepit
Washed all linens
Kitchen/cabin inventory-replaced as needed
Cabin #8 | New stainless full size fridge
Repaired front sliding door
Kitchen/cabin inventory-replaced as needed
New flatware set
Locker Shed | Paint and make handle for salt ease barrel
Fabricated crane and pulley for skiff motor lifting into salt ease
New member freezer
Put new salt ease barrel in place
Grounds
Completion of moving of gravel and rocks
Distributed firewood and cut new rounds
Equipment | Fire extinguishers to Anacortes for inspection and return
Boat/Docks | additional concrete repair on dock base
continued moving of smaller rocks to base of dock to alleviate wave action
New handrail on ramp of main dock
Miscellaneous | water sample-all okay
Mice abatement and walk throughs are completed daily when cabins are empty
If occupied this is done between member stays. Will not be noted in detail
Beach trash removal is an ongoing maintenance task and will not be mentioned monthly, as is refillling of truck fuel, and other ancillary tasks.

## May and June2023
DHBA Completed Maintenance -May and June 2023
Cabin #1 | Finished masonry work on fireplace and installed blower electrical access
Washed all linens
Rock Island wifi repaired by technicians (twice)
Cabin #2 | Washed all linens
Moved light fixture over table, freeing up electrical outlet by kitchen counter
Cabin #3
Cabin #4 | Washed all linens
Steam cleaned living room carpet
Cabin #5 | Completed roof
Washed all linens
Cabin # 6 | steam cleaned living room rug
Washed all linens
Cabin #7 | replaced bedroom wall lamps-shades destroyed by members
Washed all linens
Cabin #8 | Washed all linens
Steam cleaned living room rug and runner
Repaired corroded front slider again
Removed coat rack under staircase-child injured on the way down-too dangerous.
Locker Shed | Removed old games and puzzles left by members
Grounds | Cut 3 cords of rounds
Split and distributed to cabins
Re-filled and set out yellow jacket traps
New "Private Drive" sign on rope on drive to shop-too many islanders parking up there
Equipment | cleaned off spark plugs on truck, cleaned off brake pads of dust
Docks
Miscellaneous | water sample-all okay
Mice abatement and walk throughs are completed daily when cabins are empty
If occupied this is done between member stays. Will not be noted in detail
Beach trash removal is an ongoing maintenance task and will not be mentioned monthly, as is refillling of truck fuel, and other ancillary tasks.

## July and Aug 2023
DHBA Completed Maintenance -July and August 2023
Cabin #1
Washed all linens
Cabin #2 | Washed all linens
Cabin #3
Cabin #4 | Washed all linens
Steam cleaned living room carpet
Cabin #5
Washed all linens
Cabin # 6 | steam cleaned living room rug
Washed all linens
Cabin #7
Washed all linens
Cabin #8 | Washed all linens
Locker Shed
Grounds | Cut 4 cords of rounds
Split and distributed to cabins
Re-filled and set out yellow jacket traps
Equipment
Docks
Miscellaneous | water sample-all okay
Mice abatement and walk throughs are completed daily when cabins are empty
If occupied this is done between member stays. Will not be noted in detail
Beach trash removal is an ongoing maintenance task and will not be mentioned monthly, as is refillling of truck fuel, and other ancillary tasks.

## Sept and Oct 2023
DHBA Completed Maintenance -September and October 2023
Cabin #1
Washed all linens
Planted grass seed on new water line access trench, covered with hay
New cutlery service for 12
Cabin #2 | Washed all linens
Replaced all PVC with Pex and new water, toilet supply lines
Cabin #3 | Cleaned up landscaping debris from water hook-ups
Put in fall flowers near steps and office
Cabin #4 | Washed all linens
Steam cleaned living room carpet, and bedroom carpet
New cutlery service for 12
Formed and poured (2) new concrete footers for front door support
Cabin #5 | Finished water line hook-up repairs to plumbing
Washed all linens
Steam cleaned living room carpet and furniture
Cabin # 6 | steam cleaned living room rug
Washed all linens
Washed throw pillows
Cabin #7 | Steam cleaned couch, chair, bedrooms and living room carpet
Washed all linens
Washed throw pillow covers
New cutlery service for 8
Cabin #8 | Washed all linens
Steam cleaned all furniture, carpet and bedrooms
Steam cleaned loft
Washed throw pillows
Locker Shed
Grounds | Cut rounds
Split and distributed to cabins
Assisted Kent Schaefer with hand digging all new water line access to cabins
Equipment | New washer and dryer installed in laundry room
Docks | Replaced some boards
removed dock to lagoon for winter
Miscellaneous | water sample-all okay
Mice abatement and walk throughs are completed daily when cabins are empty
If occupied this is done between member stays. Will not be noted in detail
Beach trash removal is an ongoing maintenance task and will not be mentioned monthly, as is refillling of truck fuel, and other ancillary tasks.

## Nov & Dec 2023
DHBA Completed Maintenance -November and December 2023
Cabin #1
Washed all linens
Cleaned/replaced grill tools-put in closet inside
Cabin #2 | Washed all linens
Cleaned/replaced grill tools-put in closet inside
Cabin #3 | Replaced rotten boards in front of laundry area
Decorated buoy tree and put up lights for Christmas
Cabin #4 | Washed all linens
Started ordering/shipping furnishings and supplies for remodel
Cleaned up grill equipment-put in closet inside
Cabin #5
Washed all linens
Cleaned/replaced grill tools-put in closet inside
Cabin # 6
Washed all linens
Cleaned/replaced grill tools-put in closet inside
Cabin #7
Cleaned/replaced grill tools-put in closet inside
Cabin #8 | Washed all linens
Cleaned/replaced grill tools-put in closet inside
Locker Shed | Cleaned out member freezer
Grounds | Cut rounds
Split and distributed to cabins
Moved all weber grills inside cabins, and secured items for winter
Filled potholes in drive
Hand spread gravel where backhoe couldn't (15 yards put down on drive)
Equipment
Docks
Miscellaneous
Mice abatement and walk throughs are completed daily when cabins are empty
If occupied this is done between member stays. Will not be noted in detail
Beach trash removal is an ongoing maintenance task and will not be mentioned monthly, as is refillling of truck fuel, and other ancillary tasks.

## Jan-April 2024
DHBA Completed Maintenance January -April 2024
Cabin #1 | Washed all linens
Kitchen inventory
Cabin #2 | Washed all linens
Kitchen inventory
Cabin #3 | Removed existing trim to put in cabin 4 to match original-will re-install new trim this summer
Cabin #4 | Washed all linens
Furnished and installed new laminate flooring in downstairs hallway, kitchen, living room
Removed existing hearth, installed slate at floor level and repaired/installed bricks in void left by removal of hearth
New fireplace tools and screen
New table for banquette
New fridge and stove, new wall to wall carpeting upstairs, new blackout curtains in all bedrooms
New trim as needed, used original trim from cabin 3 to match existing in kitchen
Installed new wainscoting, with access panel behind stove, using redwood tongue and groove paneling removed from spaces for cubby and fridge
Installed new stainless wine glass hanging racks in cubby
Built banquette that seats 8, refurbished windsor chairs with cushions as extra chairs for table
New walnut countertop in kitchen, ceramic tile, new microwave, cubby with usb port
New stainless bar cart with wheels and storage
New cabinet behind banquette for dishes, new cookie sheet cabinet for vertical storage
New area rug in living room
New track lighting in living room/kitchen. New pendant over dining area, new kitchen light, bedside lamps on walls(lighting assessment)
Newly upholstered couch, settee, chair and banquette seating (by Classic Upholstery) Large chair is now upstairs with reading lamp
(6) new bed pillows for upstairs-discarded old ones
Sewed additional throw pillows from material left over from upholsterer, purchased others from Fre Meyer
Added small cleaning closet in downstairs bedroom
Painted kitchen cabinets a creamy white (Whipped Cream-color), removed all hardware, cleaned and painted black.
Removed paneling, drywalled pantry closet with additional shelving for storage
Removed existing PVC in wall and replaced with Pex
New deep sink in kitchen with new faucets in kitchen and bathroom
Kitchen inventory
New side table lamp in living room with usb ports
Steam cleaned downstairs bedroom carpet
Cabin #5 | Refinished window sill behind sink
Washed all linens
Kitchen inventory
Cabin # 6
Washed all linens
Steam cleaned downstairs area rug
Kitchen inventory
Winterized for cold temps, opened when needed
Cabin #7 | closed down for most of Jan/March. Used this cabin to paint cabinets, and stain trim and banquette wood for Cabin 4
Kitchen inventory
Winterized for cold temps, opened when needed
New side table lamp in living room with usb ports
Cabin #8 | Washed all linens
Kitchen inventory
Winterized for cold temps, opened when needed
Locker Shed | Removed old games/puzzles. Purchased some new games
Grounds | Cut rounds
Split and distributed to cabins
Equipment | Transported all fire extinguishers to Anacortes for annual recertification
Docks | Re-installed dock, railing and laid more gravel, spread where damaged by winter erosion
Miscellaneous | Water Sample-all okay
Mice abatement and walk throughs are completed daily when cabins are empty
If occupied this is done between member stays. Will not be noted in detail
Beach trash removal is an ongoing maintenance task and will not be mentioned monthly, as is refillling of truck fuel, and other ancillary tasks.

## May-July 2024
DHBA Completed Maintenance May-July 2024
Cabin #1 | Washed all linens
New black-out curtains in all windows
Refinished window sill in kitchen
Installed track lighting over sink(lighting assessment)
Installed bed wall lamps in all rooms(lighting assessment)
New front door screen
New cutting board from sink cutout in cabin 4
Purchased fire blanket from Fire Committee on island-in closet
Cabin #2 | Washed all linens
New front door screen
New cutting board from sink cutout in cabin 4
Purchased fire blanket from Fire Committee on island-in closet
Cabin #3 | Replaced bathroom floor heating thermostat
plenty of herbs for all
Cabin #4 | Washed all linens
Purchased fire blanket from Fire Committee on island-in closet
Cabin #5
Washed all linens
New side table lamps in living room with usb ports
New front door screen
New cutting board from sink cutout in cabin 4
Purchased fire blanket from Fire Committee on island-in closet
Cabin # 6
Washed all linens
Steam cleaned downstairs area rug
New cutting board from sink cutout in cabin 4
Purchased fire blanket from Fire Committee on island-tucked behind fire extinguisher
Cabin #7 | New blackout curtain in South bedroom-shade broken
Kitchen inventory
New side table lamp in living room with usb ports
New front door screen
New cutting board from sink cutout in cabin 4
Purchased fire blanket from Fire Committee on island-in closet
Cabin #8 | Washed all linens
Steam cleaned living room rug
Repaired glass slider
New front door screen
New cutting board from sink cutout in cabin 4
Purchased fire blanket from Fire Committee on island-in closet
Locker Shed | Removed old games and puzzles
Grounds | Cut rounds
Split and distributed to cabins
Re-filled/replaced yellow jacket traps
Built and painted cornhole game up at tennis court
Created new garden near shop
Purchased 3rd propane grill-burn ban
Installed new can crusher, new hose hangers
Equipment | Replaced basketball and pickle balls
Docks
Miscellaneous | Water sample - all okay
Mice abatement and walk throughs are completed daily when cabins are empty
If occupied this is done between member stays. Will not be noted in detail
Beach trash removal is an ongoing maintenance task and will not be mentioned monthly, as is refillling of truck fuel, and other ancillary tasks.

## August-Dec 2024
DHBA Completed Maintenance August - December 2024
Cabin #1 | Washed all linens
Installed remainder of new track lighting
New silicone kitchen utensils
kitchen inventory
Installed new dining room fixture
Steam cleaned upstairs loft
Steam cleaned downstairs furniture
Washed throw pillows
Installed heat tape in prep for winter
Cleaned/replaced grill tools-put in closet inside
Cabin #2 | Washed all linens
kitchen inventory
New silicone kitchen utensils
Steam cleaned upstairs loft
Steam cleaned downstairs furniture
Washed throw pillows
Built end tables for bedroom downstairs
Purchased bedside lamps with usb ports
Installed heat tape in prep for winter
Cleaned/replaced grill tools-put in closet inside
Cabin #3 | Installed heat tape in prep for winter
Decorated buoy tree for Christmas Holidays
Cabin #4 | Washed all linens
Completed installing upstairs lights and downstairs bedroom overhead light
kitchen inventory
New silicone kitchen utensils
Cleaned/replaced grill tools-put in closet inside
Installed heat tape in prep for winter
Cabin #5
Washed all linens
kitchen inventory
New silicone kitchen utensils
Installed heat tape in prep for winter
Cleaned/replaced grill tools-put in closet inside
Cabin # 6 | Built end tables for bedrooms
Washed all linens
kitchen inventory
New silicone kitchen utensils
Purchased downstairs bedroom lamps with usb ports
Installed heat tape in prep for winter
Cleaned/replaced grill tools-put in closet inside
Installed bathtub water diverter to keep water off of floor in corner
Cabin #7
Kitchen inventory
New silicone kitchen utensils
Steam cleaned all carpeting and couch and chair
Washed throw pillow covers
Installed heat tape in prep for winter
Cleaned/replaced grill tools-put in closet inside
Cabin #8 | Washed all linens
Steam cleaned living room rug
Steam cleaned upstairs loft
Steam cleaned furniture and washed throw pillows
kitchen inventory
New silicone kitchen utensils
Installed heat tape in prep for winter
Cleaned/replaced grill tools-put in closet inside
Locker Shed
Shop | Installed new asphalt roof, replacing fascia as needed.
Grounds | Cut rounds
Split and distributed to cabins
Clean up washed out road after December storm
Cleaned up debris after minor flooding around cabins during December storm
Equipment | Purchased additional propane grill
Purchased (3) propane firepits for burn ban in 2025
Docks | Removed dock to lagoon in October
Miscellaneous | Water sample - all okay including annual nitrate testing
Mice abatement and walk throughs are completed daily when cabins are empty
If occupied this is done between member stays. Will not be noted in detail
Beach trash removal is an ongoing maintenance task and will not be mentioned monthly, as is refillling of truck fuel, and other ancillary tasks.

## Jan-April 2025
DHBA Completed Maintenance Jan thru April 2025
Cabin #1 | Washed all linens
Built end tables for queen downstairs bedroom
Installed new outdoor light-other one inoperable
Purchased new black task light in living room in outside corner
Purchased living room side table lamp with plug and usb ports
New area rug in living room
Replaced rotten deck boards
Repaired/replaced fan pull that was broken
Cabin #2 | Washed all linens
Installed new outdoor light - other one inoperable
Cabin #3 | Installed new outdoor lights -other ones corroded
Cabin #4 | Washed all linens
Built end tables for downstairs bedroom
Installed new outdoor light-other one inoperable
Shaved pilling on downstairs area rug (wool fibers)
Cabin #5 | New kitchen sink and faucet, old ones corroded innards, new plumbing under sink
Washed all linens
Built end tables for bedrooms
Purchased downstairs bedside lamps with usb ports
Installed purchased hall light-replaced corroded globe
Installed new 3-tier basket in kitchen
Replaced leaking plumbing under bathroom sink, and new faucet
Cabin # 6 | Washed all linens
Repaired/replaced fan pull that was broken
Replaced rotten deck boards
Cabin #7 | Washed all linens
New kitchen faucet, old one corroded innards
Cabin #8 | Washed all linens
Built end tables for downstairs bedrooms
Purchased downstairs bedroom lamps with usb ports
Purchased living room side table lamp with plug and usb ports
Installed floor plug/usb ports in living room near end of couch closest to fireplace
Removed and re-installed all kitchen cabinets and hardware. Sanded/primed/painted the same off white cabinet color as cabin 4, Repainted hardware
New shelf liner in all drawers, etc in kitchen
New throw pillows and throw rugs
Installed already purchased hall light downstairs
Installed new 3-tier basket over microwave
New insulated/black-out curtain in master bedroom/slider
Repaired/replaced fan pull that was broken
Locker Shed | Went through children's games,discarded broken ones
Installed clips for fishing poles on wall under window
Installed new shop light-other one corroded
Installed outdoor light-other one corroded
Shop | Free table for community at friend's house. Able to recycle most of old lighting, rugs
Grounds | Cut rounds
Split and distributed to cabins
Removed unnamed crab pots-up at shop for one year, then scrap
Spread purchased gravel on drive- 6 yards 4" minus, 12 yards 3/4" minus
Laundry room | New slop sink faucet
New pex in walls, new water supply lines
Equipment | Purchased 4th propane fire pit for burn ban in 2025
Fire extinguisher sannual inspection
Both fire pumps inspected by member firemen-both fine
Docks | Moved dock back into Davis Bay
Replaced damaged dock boards
Pressure washed dock
Applied simple green/ammonia to docks-otter abatement
Repaired damaged railing
Miscellaneous | Water sample-all okay
Tennis court | Cut trench around back side-flooding from hill onto court
Pressure washed tennis court
Mice abatement and walk throughs are completed daily when cabins are empty
If occupied this is done between member stays. Will not be noted in detail
Beach trash removal is an ongoing maintenance task and will not be mentioned monthly, as is refillling of truck fuel, and other ancillary tasks.

## May-Sept 2025
DHBA Completed Maintenance May-Sept 2025
Cabin #1 | Washed all linens
Installed retractable clothesline
Cabin #2 | Washed all linens
Installed retractable clothesline on porch
Cabin #3
Cabin #4 | Washed all linens
Installed retractable clothesline
Cabin #5 | Installed new outdoor light, other one inoperable
Washed all linens
Installed retractable clothesline on porch
Cabin # 6 | Washed all linens
Installed new outdoor light, other one inoperable
Installed retractable clothesline on porch
Cabin #7 | Washed all linens
Installed new outdoor light, other one inoperable
Made new coffee table for in front of couch
Installed retractable clothesline on porch
Cabin #8 | Washed all linens
Installed new outdoor light, other one inoperable
Installed retractable clothesline on porch
Locker Shed | Added new games/toys
Shop
Grounds | Cut rounds
Split and distributed to cabins
Built children's teeter-totter and swing near tennis court
Laundry room | Removed old washer and installed new washer
Built new shelves over washer
Equipment | Purchased 5th propane fire pit for burn ban in 2025
Purchased 6 additional propane tanks for grills and firepits
Docks
Miscellaneous | Water sample-all okay
Tennis court | Cleaned out trench to clear for water drain off
Mice abatement and walk throughs are completed daily when cabins are empty
If occupied this is done between member stays. Will not be noted in detail
Beach trash removal is an ongoing maintenance task and will not be mentioned monthly, as is refillling of truck fuel, and other ancillary tasks.
Mice abatement and walk throughs are completed daily when cabins are empty
If occupied this is done between member stays. Will not be noted in detail
Beach trash removal is an ongoing maintenance task and will not be mentioned monthly, as is refillling of truck fuel, and other ancillary tasks.